## Imaging Protocol
Parameters | Average | Large
Slice Thickness | 0.5 mm | 1 mm
SFOV | (L) 500
DFOV | Adjust to Patient Size
kV | 100 or Auto kVp | 120
Rotation Time | 0.5 sec | 0.5 - 0.75 sec
Pitch | Fast
mA | Sure Exposure Body Quality

## Image Recon
| Image | Sure IQ | WW/WL | Thickness | Destinations
Axials | Axial 1
Axial 2
Axial 3
Axial 4
| Image | Sure IQ | WW/WL | Thickness | Destinations
Multiview 1 | Axial | CTA Body | 500/70 | 1 x 1 mm | PACS
| Coronal |  |  | 3 x 3 mm | PACS
| Sagital |  |  | 3 x 3 mm | PACS
Multiview 2 | Axial | CTA Body | 500/70 |  | PACS
| Coronal |  |  | 15 x 3 mm (MIP) | PACS
| Sagital |  |  | 15 x 3 mm (MIP) | PACS
Manual MPR | Axial
Coronal
Sagital